## Sheet1
Location | Kömürcüler, Turkey
PV Module Model | TSM-DE19-550Wp Vertex
Module Manufacturer | Generic
Module Power (W) | 550
Number of Modules | 40
Array Power (kWp) | 22
Strings Configuration | 4 strings x 10 modules
Inverter Model | SUN2000-20KTL-M2
Inverter Manufacturer | Generic
Inverter Power (kWac) | 20
Number of Inverters | 1
DC/AC Ratio | 1.1
PV Tilt / Azimuth | 7° / 0°
PV Area (m²) | 105
System Power (kWp) | 22
Specific Production (kWh/kWp/year) | 1447
Produced Energy (kWh/year) | 31826
Performance Ratio (%) | 84.97
Thermal Loss (W/m²K) | 20
DC Wiring Loss (%) | 1.5